FINANCIAL BID

Date: ……………….

The Procurement Officer

Local Initiatives for Biodiversity, Research and Development (LI-BIRD)

Pokhara-11, Kaski

Re: Tender for Installation, Testing and Commissioning for the Multi-Hazard Siren System

Dear Madam/Sir,

With reference to tender called for Installation, Testing and Commissioning for the Multi-Hazard Siren System, we would like to submit our quotes for the following:

| SN | Description | Unit | Qty | Total Amount (NPR) | Remarks |
| --- | --- | --- | --- | --- | --- |
| A | Multi-Hazard Siren System for Pokharipata |  |  |  |  |
| 1 | Audio Remote Terminal Unit (ARTU) | Set | 1 |  |  |
| 2 | High Efficiency Audio Amplifier | Set | 1 |  |  |
| 3 | High Power Driver (SMS, internet, wireless remote control) | Set | 2 |  |  |
| 4 | Weatherproof Equipment Housing | Set | 1 |  |  |
| 5 | MPPT Solar Charge Controller | Set | 1 |  |  |
| 6 | Battery 12 V, 75 Ah, [Lithium Based Battery (last at least 1 month without charging) and charger included] | No. | 1 |  |  |
| 7 | Solar Boom with Hinge | Set | 1 |  |  |
| 8 | Lightning Arrester and Grounding Kit | Set | 1 |  |  |
| 9 | Galvanized Metal Mast Power: Backed by solar power system supporting continuous operation | Set | 1 |  |  |
| 10 | Rugged Aluminum Alloy Horn Speaker | No. | 2 |  |  |
| 11 | Warning Light | No. | 1 |  |  |
| 12 | Wireless Remote Control | Set | 1 |  |  |
| 13 | Factory Assembly and Testing | LS | 1 |  |  |
| 14 | Installation and Commissioning (Includes the cost of the resource persons and equipment’s for the testing and commissioning) | LS | 1 |  |  |
| 15 | SIM Charges | LS | 1 |  |  |
| 16 | Central Monitoring Control Software | LS | 1 |  |  |
|  | Sub Total (A) |  |  |  |  |
| B | Multi-Hazard Siren System for Timure |  |  |  |  |
| 1 | Audio Remote Terminal Unit (ARTU) | Set | 1 |  |  |
| 2 | High Efficiency Audio Amplifier | Set | 1 |  |  |
| 3 | High Power Driver (SMS, internet, wireless remote control) | Set | 2 |  |  |
| 4 | Weatherproof Equipment Housing | Set | 1 |  |  |
| 5 | MPPT Solar Charge Controller | Set | 1 |  |  |
| 6 | Battery 12 V, 75 Ah, [Lithium Based Battery (last at least 1 month without charging) and charger included] | No. | 1 |  |  |
| 7 | Solar Boom with Hinge | Set | 1 |  |  |
| 8 | Lightning Arrester and Grounding Kit | Set | 1 |  |  |
| 9 | Galvanized Metal Mast Power: Backed by solar power system supporting continuous operation | Set | 1 |  |  |
| 10 | Rugged Aluminum Alloy Horn Speaker | No. | 2 |  |  |
| 11 | Warning Light | No. | 1 |  |  |
| 12 | Wireless Remote Control | Set | 1 |  |  |
| 13 | Factory Assembly and Testing | LS | 1 |  |  |
| 14 | Installation and Commissioning (Includes the cost of the resource persons and equipment’s for the testing and commissioning) | LS | 1 |  |  |
| 15 | SIM Charges | LS | 1 |  |  |
| 16 | Central Monitoring Control Software | LS | 1 |  |  |
|  | Sub Total (B) |  |  |  |  |
| C | Logistic Arrangement |  |  |  |  |
| 1 | Transportation cost upto the Pokharipata and Timure from the suppliers along with the cost for two visits in three years inaccordance with after sales agreement | LS | 1 |  |  |
|  | Sub Total (C) |  |  |  |  |
|  | Grand Total (A+B+C) |  |  |  |  |
|  | VAT Exempt Amount |  |  |  |  |
|  | VAT able Amount |  |  |  |  |
|  | Total VAT |  |  |  |  |
|  | Grand Total Amount including all applicable taxes |  |  |  |  |

The amount quoted is inclusive of taxes and delivery charges up to the delivery points mentioned in the Technical Bid document.

Total Amount in Words: (Please write the total amount quoted in words)

…………………………………………………………………………………………………………………………………………………………………………………………………………………………..

Submitted by:

| Name: |  |
| --- | --- |
| Designation: |  |
| Signature with Date: |  |
| Company's Seal: |  |